## POWCAL
# | Command (Send) | Normal Response | Error Response | Description
1. Report Optical Power Reading
1.1 | AT+POWCAL=H,150 | +POWCAL:H,ADJ,1550mV | +POWCAL:ERR,H,SAT,3300mV | Report H-channel power 1.50mW (value x100) ADJ=adjusted, continue / DONE=reached target
1.2 | AT+POWCAL=V1,100 | +POWCAL:V1,ADJ,1200mV | +POWCAL:ERR,V1,LASER_OFF,0mV | Report V1-channel power 1.00mW Note: Ensure laser is powered on first
1.3 | AT+POWCAL=V2,85 | +POWCAL:V2,DONE,980mV | +POWCAL:ERR,V2,PD_LOW,30mV | Report V2-channel power 0.85mW DONE=error within +/-0.05mW, calibration complete
2. Status & Save
2.1 | AT+POWCAL=STATUS | +POWCAL:STATUS,H,ADJ,1550mV,target=200 +POWCAL:STATUS,V1,IDLE,0mV,target=100 +POWCAL:STATUS,V2,DONE,980mV,target=100 | — | Query all 3 channels calibration status
2.2 | AT+POWCAL=SAVE | +POWCAL:SAVE,OK +RESP:LOCKED | +POWCAL:SAVE,FAIL | Save calibration results to Flash Auto-locks after success
3. Stop Calibration
3.1 | AT+POWCAL=STOP,H | +POWCAL:STOP,H | +POWCAL:ERR,UNKNOWN CHANNEL | Stop H-channel calibration, reset to IDLE
3.2 | AT+POWCAL=STOP | +POWCAL:STOP,ALL | — | Stop all 3 channels calibration
4. Status Code Reference
Code | Response Prefix | Meaning |  | Next Action
ADJ | +POWCAL | Reference voltage adjusted, awaiting next measurement |  | Re-read power meter and send AT+POWCAL
DONE | +POWCAL | Target reached, error within +/-0.05mW |  | Send AT+POWCAL=SAVE to save
SAT | +POWCAL:ERR | Saturated, voltage at upper limit (3300mV) or lower limit (0mV) |  | Check laser/PD health
LASER_OFF | +POWCAL:ERR | Laser not powered on, calibration rejected |  | Turn on the corresponding laser first
PD_LOW | +POWCAL:ERR | Initial PD reading below 50mV, calibration rejected |  | Check PD sensor connection
NO_RESP | +POWCAL:ERR | Voltage increased but optical power did not respond |  | Check laser diode / optical path

## Ref Voltage
# | Command (Send) | Normal Response | Error Response | Description
1. Unlock & Lock
1.1 | AT+UNLOCKCFG=123456 | +RESP:UNLOCKED | +RESP:PASSWORD ERROR, PLEASE RETRY | Enter password to unlock configuration mode
1.2 | AT+LOCKSTATE? | +RESP:LOCKED | +RESP:UNLOCKED | Query current lock state
2. Set Reference Voltage (unlock required first)
2.1 | AT+SET_FRONT=1500 | +RESP:OK | +RESP:PLEASE UNLOCK FIRST +RESP:ERR | Set V2(FRONT) reference to 1500mV Range: 0~3300mV
2.2 | AT+SET_SIDE=1200 | +RESP:OK | +RESP:PLEASE UNLOCK FIRST +RESP:ERR | Set H(SIDE) reference to 1200mV Range: 0~3300mV
2.3 | AT+SET_HORIZ=1300 | +RESP:OK | +RESP:PLEASE UNLOCK FIRST +RESP:ERR | Set V1(HORIZ) reference to 1300mV Range: 0~3300mV
3. Query Reference Voltage
3.1 | AT+GET_FRONT? | +RESP:FRONT=1500mV | — | Query V2(FRONT) current value
3.2 | AT+GET_SIDE? | +RESP:SIDE=1200mV | — | Query H(SIDE) current value
3.3 | AT+GET_HORIZ? | +RESP:HORIZ=1300mV | — | Query V1(HORIZ) current value
3.4 | AT+GET_ALL | RESP:FRONT=1500mV RESP:SIDE=1200mV RESP:HORIZ=1300mV | — | Query all 3 reference voltages at once
4. Save & Reset
4.1 | AT+SAVE | +RESP:SAVE OK | +RESP:PARAMETER NOT READY (NOT LOCKED) | Save reference voltage to Flash (locked state required) Auto-locks after all 3 channels are set
4.2 | AT+RESET | +RESP:RESET SUCCESS, FLASH ERASED | +RESP:PLEASE UNLOCK FIRST +RESP:RESET FAILED | Clear RAM reference voltage and erase Flash Unlock required first

## IMU Calibration
# | Command (Send) | Normal Response | Error Response | Description
1. IMU Zero-Point Calibration
1.1 | AT+CALIBRATION | +RESP:CALIBRATION START ... +RESP:CALIB DONE X=xxx Y=xxx Z=xxx | +RESP:CALIBRATION FAIL | Start IMU accelerometer zero-point calibration Auto-collects 32 samples (CALIBRATION_TRIALS) Auto-saves to Flash on completion Prerequisite: Device placed horizontally and stationary
1.2 | AT+GETCALIBRATION | +RESP:CALIB X=50 Y=-30 Z=120 | +RESP:NO CALIB DATA | Query stored IMU calibration offset values X/Y/Z are accelerometer zero-point offsets
2. Angle Mode Switching
2.1 | 0 | +RESP:ANGLE MODE SET 0~4deg | — | Switch to 0-4 degree mode Laser operates only within 0-4 deg range
2.2 | 4 | +RESP:ANGLE MODE SET 4~10deg | — | Switch to 4-10 degree mode Laser operates within 4-10 deg range
2.3 | 10 | +RESP:ANGLE MODE SET 10~90deg | — | Switch to 10-90 degree mode Laser operates within 10-90 deg range
2.4 | 90 | +RESP:ANGLE MODE SET UNCAL | — | Switch to uncalibrated mode (UNCAL) Laser stays on regardless of angle

## System Query
# | Command (Send) | Response Example | Description
1. All Information
1.1 | AT+GET_ALL_INFO | ========== ALL FLASH INFO ========== ----- Device Info ----- Project: Hawkeye HW Ver: x.x.x.x FW Ver: x.x.x.x ----- IMU Calibration ----- ----- Reference Voltage ----- ----- Power Off Log ----- ----- Runtime Statistics ----- | Query all device information at once Includes: version/IMU calibration/reference voltage/power-off log/runtime stats
2. Debug & Maintenance
2.1 | AT+CLEAR_ALL_FLASH | +RESP:ALL FLASH CLEARED | Erase all Data Flash (unlock required) WARNING: Destructive operation, clears all calibration/statistics data

## Other Commands
# | Command (Send) | Normal Response | Error Response | Description
Debug Print Toggle
1.1 | AT+PRINT=1 | +RESP:PRINT ON | +RESP:ERR | Enable debug print output
1.2 | AT+PRINT=0 | +RESP:PRINT OFF | +RESP:ERR | Disable debug print output

## LASER Ctrl
# | Command (Send) | Normal Response | Error Response | Description
1. Single Channel Control
1.1 | AT+LASER=H,ON | +LASER:H,ON | +LASER:ERR,BUSY +LASER:ERR,FORMAT | Turn ON H(SIDE) channel laser If first channel: sets PWM, waits 10ms, then EN1_ON
1.2 | AT+LASER=H,OFF | +LASER:H,OFF | +LASER:ERR,BUSY +LASER:ERR,FORMAT | Turn OFF H(SIDE) channel laser If last channel: EN1_OFF &rarr; wait 10ms &rarr; all PWM off
1.3 | AT+LASER=V1,ON | +LASER:V1,ON | +LASER:ERR,BUSY | Turn ON V1(HORIZ) channel laser
1.4 | AT+LASER=V1,OFF | +LASER:V1,OFF | +LASER:ERR,BUSY | Turn OFF V1(HORIZ) channel laser
1.5 | AT+LASER=V2,ON | +LASER:V2,ON | +LASER:ERR,BUSY | Turn ON V2(FRONT) channel laser
1.6 | AT+LASER=V2,OFF | +LASER:V2,OFF | +LASER:ERR,BUSY | Turn OFF V2(FRONT) channel laser
2. All Channels Control (Atomic)
2.1 | AT+LASER=ALL,ON | +LASER:ALL,ON | +LASER:ERR,BUSY | Turn ON all 3 channels simultaneously Atomic: sets all gLaserOn first, then configures PWM + MOS once
2.2 | AT+LASER=ALL,OFF | +LASER:ALL,OFF | +LASER:ERR,BUSY | Turn OFF all 3 channels simultaneously Atomic: EN1_OFF &rarr; 10ms &rarr; all PWM to 0
3. Error Code Reference
Error | Response | Meaning |  | Solution
BUSY | +LASER:ERR,BUSY | MOS state machine is busy (during 10ms EN1 delay) |  | Retry after ~20ms
FORMAT | +LASER:ERR,FORMAT: ... | Command format error, missing comma or wrong values |  | Use: AT+LASER=<H¦V1¦V2¦ALL>,<ON¦OFF>
4. MOS State Machine Behavior
Scenario |  | Action | Timing
First laser ON (all were OFF) |  | Set all PWM carriers &rarr; wait 10ms &rarr; EN1_ON | All carrier signals enabled together
Additional laser ON (others ON) |  | Set that channel's PWM to 60 duty immediately | No delay (EN1 already enabled)
Not-last laser OFF |  | Set that channel's PWM to 20 duty (idle) | No delay (other channels keep EN1 on)
Last laser OFF |  | EN1_OFF &rarr; wait 10ms &rarr; all PWM to 0 | Clean shutdown sequence
5. Sequential Calibration Workflow (PC-Side Script)
AT+LASER=ALL,OFF // Ensure clean initial state AT+LASER=H,ON // Turn ON H only AT+POWCAL=H,200 // Calibrate H (repeat until DONE) AT+LASER=H,OFF AT+LASER=V1,ON // Turn ON V1 only AT+POWCAL=V1,100 // Calibrate V1 AT+LASER=V1,OFF AT+LASER=V2,ON // Turn ON V2 only AT+POWCAL=V2,100 // Calibrate V2 AT+POWCAL=SAVE // Save all three to Flash AT+LASER=V2,OFF

## Channel Map
Parameter | H (SIDE) | V1 (HORIZ) | V2 (FRONT) | Note
Channel Mapping
Channel Enum | POWCAL_CH_H = 0 | POWCAL_CH_V1 = 1 | POWCAL_CH_V2 = 2 | power_calibration.h
AT Command Name | H | V1 | V2 | Name used in commands
gLaserOn Index | [0] | [1] | [2] | Laser on/off state
g_pd_avg Index | [0] = pd_avg1 | [1] = pd_avg2 | [2] = pd_avg | PD average (mV)
reference_voltage Variable | reference_voltage1 | reference_voltage2 | reference_voltage | Reference voltage variable
Calibration Target (hawkeye_config.h)
Target Power (x100) | 200 (2.00mW) | 100 (1.00mW) | 100 (1.00mW) | POWCAL_TARGET_H/V1/V2
Step Thresholds (x100, unit: 0.01mW)
Large Step Threshold | ¦error¦ > 50 (0.50mW) → step 200mV |  |  | POWCAL_THRESH_LARGE
Medium Step Threshold | ¦error¦ > 20 (0.20mW) → step 50mV |  |  | POWCAL_THRESH_MED
Small Step Threshold | ¦error¦ > 5 (0.05mW) → step 10mV |  |  | POWCAL_THRESH_SMALL
Done Condition | ¦error¦ ≤ 5 (0.05mW) → DONE
Protection Parameters
Voltage Upper Limit | 3300mV |  |  | POWCAL_VOLT_MAX_MV
Voltage Lower Limit | 0mV |  |  | POWCAL_VOLT_MIN_MV
PD Minimum Threshold | 50mV (calibration rejected below this) |  |  | POWCAL_PD_MIN_MV
IMU Calibration Parameters
Sample Count | 32 samples |  |  | CALIBRATION_TRIALS
Sample Interval | 10ms |  |  | SAMPLE_PERIOD_MS
Angle Thresholds | 3.8 deg: 1085 ¦ 4.0 deg: 1143 ¦ 7.5 deg: 2139 ¦ 10.0 deg: 2846 |  |  | LIMIT_x_DEG (accelerometer raw values)

## POWCAL Flow
Round | PC Sends | MCU Responds | Description
Initial state: H-channel laser ON, PD=1500mV, power meter reads 0.50mW (too low)
1 | AT+POWCAL=H,50 | +POWCAL:H,ADJ,1700mV | Power=50(0.50mW) < target 200(2.00mW) Error 150 > large-step threshold 50 → +200mV
2 | AT+POWCAL=H,110 | +POWCAL:H,ADJ,1900mV | Power=110(1.10mW), error 90 > 50 → +200mV
3 | AT+POWCAL=H,165 | +POWCAL:H,ADJ,1950mV | Power=165, error 35 > 20 → +50mV (medium step)
4 | AT+POWCAL=H,190 | +POWCAL:H,ADJ,1960mV | Power=190, error 10 > 5 → +10mV (small step)
5 | AT+POWCAL=H,198 | +POWCAL:H,DONE,1960mV | Power=198, error=2 ≤ 5 → DONE!
Calibration complete, save results
6 | AT+POWCAL=SAVE | +POWCAL:SAVE,OK +RESP:LOCKED | Save to Flash, auto-lock
PC-Side Recommended Pseudocode
while True: power = read_optical_power_meter() # Read optical power meter uart.send(f"AT+POWCAL=H,{power}") resp = uart.receive() if "DONE" in resp: print("Calibration complete") break elif "ERR" in resp: print(f"Error: {resp}") break elif "ADJ" in resp: wait_stable(200ms) # Wait for laser to stabilize continue